EL582/BE620 Medical Imaging I, Fall 2008, Professor Yao Wang

(closed book, 1 sheets of notes double sided allowed)

12/18/2008, 3:00-5:50PM

_______________________________________________________________________

- (10 pt) (a) Describe briefly the four types of radioactive delay. (b) what types of decays are useful for SPECT and PET, respectively? (c) Do we need to use a collimator in SPECT camera? What about for PET?  Why? (d) In nuclear imaging, what determines how long the patient must wait after the patient is given a radiotracer?

- (10 pt) (a) What are the main functions of an ultrasound transducer? what does the transducer measure? (b) what determines the frequency of the sound wave created by a transducer? (c) How do we relate the signal detected at time t with the distance z from the transducer? (d) Describe briefly the scanner data and display format with the following three imaging modes: A-mode, M-mode, B-mode.

- (15 pt) (a) Describe the main functions of the following components in a MRI scanner: the magnet, the gradient coil, and the RF coil. (b) what is the purpose of the /2 pulse in a pulse sequence used for MRI? How does the bulk magnetization vector change immediately after the /2 pulse is applied? How does it change afterwards? (c) What is the purpose of the  pulse? Suppose the time between /2 pulse and pulseis T1, when do we measure the signal? (d) Should we use the  pulse if we want to image the T2* distribution of the body?  Should we use the  pulse if we want to image the T2 distribution of the body?

- (20 pt) A 2-D slice to be imaged is shown in Fig. P-4.

  - Suppose a solution containing a gamma ray emitting radionuclide (with a half life of 8 hour) with concentration of 1 mCi/cm2 fills section R1 and R2. We image the radioactivity distribution in this slice 4 hour after the injection of the radionuclide solution, using a rotating SPECT camera. Compute the measured signal by the camera at positions A, B, C, D, respectively.

0

3

1

-1

3

-3

A

B

C

D

R1

R2

-3

-2

-2

-1

2

Now suppose the radionuclide in (a) is replaced by a positron emitting radionuclide with the same concentration. This time the slice is imaged using a PET scanner. Compute the measured signal by the cameras positioned at A and B, and the signal by the cameras positioned at C and D.

Figure P4

- (10 pt) Consider an ultrasound imaging scenario illustrated in Fig. P5. Assume the media has three layers, with their depths indicated in the figure, with d1=6cm, d2=3cm.  The acoustic impedance, speed of sound, and attenuation coefficients of different media are denoted by Zi;ci;μi,i=1,2,3, respectively. The values are given in Table P5. Assume the transducer generates an acoustic wave with envelop being a rectangular pulse of duration T=10 s at frequency of 3 MHz and an amplitude of 1. Assume that there is no reflection between the transducer and the medium it resides in (medium 1). (a) write down an expression for the signal received by the transducer. (b) sketch the A-mode signal (envelope of the received signal) received by the transducer.  Note that you only need to consider waves that enter a surface in the normal directions. You should take into account of signal attenuation in distance.

transducer

Medium 1

Medium 2

Medium 3

Figure P5

|  | Acoustic Impedance Z (kg/m^2 sec) | Speed of sound c (m/sec) | Attenuation factor (cm^-1) |
| --- | --- | --- | --- |
| Medium 1 | 1.4 E6 | 1500 | 0.02 |
| Medium 2 | 1.5 E6 | 1550 | 0.03 |
| Medium 3 | 10.0 E6 | 2000 | 0.04 |

Table P5

- (10 pt) A flat face transducer with a circular face with diameter D (D=1cm) is used to image a medium with four point scatters with positions indicated in the figure below. The distances d1=10cm, d2=30 cm, d3=1.5cm. The medium has a speed of sound c=1540 m/s. The resonance frequency of the transducer is 3 MHz. The narrowband signal generated by the transducer has a rectangular envelope of width T=10 s.

  - Sketch roughly the measured reflectivity distribution (i.e. the obtained ultrasound image) in the x-z plane by the transducer working in the B-mode. Indicate the dimension of any object that may be seen by the scanner.

  - Can we separate the two scatters S1 and S2 based on the image? Why?

  - Can we separate the two scatters S1 and S3? Why?

d1

d2

d3

S1

S2

S3

x

transducer

S4

d3

Can we separate the two scatters S2 and S4? Why?

- (5 pt) Suppose an ultrasound transducer is pointing at a scatterer 10 cm away. The frequency of the transducer pulse is f=3 MHz. The speed of sound in the medium is c=1500 m/s. If the scatterer is moving towards the transducer with a speed of v=50 m/s and angle of 30 degree, what is the frequency of the signal received by the scatter?  What is the frequency of the backscattered signal received by the transducer? How would the transducer determining the speed of the scatterer?

- (20 pt) Consider an MRI scan using a pulse sequence shown below. There are M readouts total in each slice, and you alternate the direction of the X-gradient between readouts. During each readout duration Ts , N samples are taken.  The scan parameters are chosen so that γGyTs2=γGyTyM2. (a) Sketch the corresponding sampling pattern in the Frequency domain. Indicate how the positions of the samples are related to the scan sequence parameters including Gx,Gy,Ts,Ty,M,N. (b) (10 pt) If you were to reconstruct the image using inverse 2-D discrete Fourier transform, and you would like to reconstruct an image with M1 rows and N1 columns. How should you choose M and N in your scan sequence? If you would like to have a pixel resolution of (Δx,Δy), what are the constraints on the scan parameters? (i.e. give the equations that the parameters  Gx,Gy,Ts,Ty,M,N must satisfy). If you want to cover an image area with size FOVx×FOVy, what are the constraints on the scan parameters?

.